[COMPANY LOGO]

User Interface Study Report

Report No.: XXX-XXX-XX-XX

Month Day, Year

[Company Name]

[Full Address of Company]

Confidential and Proprietary

The information contained in this document is privileged and confidential and is the property of [Company Name]. Nothing herein is to be reproduced, published, or disclosed to others in any way without the prior express written authorization of [Company Name].

# APPROVAL PAGE

|  | Name and Designation | Signature and Date |
| --- | --- | --- |
| Prepared By: |  |  |
| Reviewed By |  |  |
| Reviewed By |  |  |
| Reviewed By |  |  |
| Reviewed By |  |  |
| Reviewed By |  |  |
| Approved By |  |  |

Table of Contents

APPROVAL PAGE	2

1.	Overview	4

2	USer interface study	6

2.1	Physical Comparison	7

2.2	Labeling Comparison	9

2.3	Comparative Task Analysis	11

3	Discussion	14

4	Conclusion	16

5	References	16

List of In-Text Tables

Table 1. Physical Comparison of the RLD (Left) and Generic Product (Right) and the associated device constituent components	7

Table 2. Comparison of Outer Carton Labeling for RLD (left) and [Company Name]’s Generic Device (right)	10

Table 3. Comparison of the Primary Label for RLD (Left) and [Company Name]’s Generic (right)	10

Table 4. Comparison of Prescribing Information for RLD and Proposed Generic [Product Name]	10

Table 5. Results of Comparative Task Analysis for RLD and Generic proposed [Product Name]	12

Table 6. Summary of User Interface Study	14

Table 7. Risk Assessment of differences identified between RLD, [RLD Name] and Proposed Generic, [Product Name]	15

List of In-Text Figures

Figure 1. High Resolution Photographic Comparison of [RLD Name] (left) and Generic product (right)	6

# Overview

<The details provided below are for reference>

This report is to summarize conducted a User interface study between [Company Name]’s proposed generic, [Product Name] and the reference listed drug (RLD), [RLD Name], held by [Company Name] (NDA XXXXXX) as outlined in the FDA Draft Guidance for Industry: Comparative Analyses and Related Comparative Use Human Factors Studies for a Drug-Device Combination Product Submitted in an ANDA, January 2017.

The RLD, [RLD Name] is a pharmacological class indicated for XXXX.

The RLD, [RLD Name] is supplied as description of RLD along with pack details, as follows:

| X.X mL fill in X mL Vial (Carton containing 1 Vial) | : NDC Number |
| --- | --- |
| X.X mL fill in X mL Vial (Carton) | : NDC Number |

[Company Name] intends to commercialize generic, [Product Name] filled into X mL Vial, description of generic product along with pack details.

Please note [Company Name]’s, [Product Name] and the RLD, [RLD Name] shall be referred to herein as “Generic” and “RLD” respectively. In alignment with FDA’s current expectation for any differences in the generic product presentation relative to RLD for substitutability, a User  Interface has been conducted between the proposed generic product and the associated dose administration to determine whether the generic product is similar to the RLD and be used safely by an intended user without additional training prior to use.

The approved patient insert for the RLD does not provide “Directions for Use”. Hence, the “Directions for Use” was generated and used to simulate the workflow (task analysis) for the preparation and administration of the product in this study.

This user interface study included the following comparisons between the RLD and [Company Name]’s proposed generic product, as specified in the FDA Draft Guidance (Ref.1):

- Physical Comparison: a comparison of the physical features of the delivery device constituent part for each product, performed via visual and tactile inspection.

- Labeling Comparison: a comparison of the prescribing information and other patient- facing labeling, including instructions for use, carton, and on-device labels for each product.

- Comparative Task Analysis: a comparison between the tasks required to use each product.

The focus of this study was on identifying and classifying differences in external critical design attributes between the RLD and the proposed generic. An external critical design attribute is a feature that an end user will rely on to safely and effectively perform a task that is critical to the use of the product. Any differences identified in these comparisons were classified according to their impact on these external critical design attributes using the following criteria:

- No design differences. No differences are identified between the user interface of the products.

- Minor design differences. The differences in the user interface of the products do not affect an external critical design attribute.

- Non-minor design differences. Differences in the design of the products may impact an external critical design attribute that involves administration of the product.

Refer below investigational product details:

| Type of product | Items | Batch no./Lot # |
| --- | --- | --- |
| Generic drug product | [Product Name] | Batch No. : XXXXXX MFG.: 0X/202X |
| Reference listed drug product | [RLD Name] | Lot. # XXXX Exp. 202X/0X |

# USer interface Study

[Company Name] obtained samples of the RLD and related product packaging and labeling. The samples were then compared to the product components and labels for [Company Name]’s proposed generic Please see Figure 1 below.

The resulting, Physical Comparison, Labeling Comprehension and Comparative Task Analysis are summarized in the sections below

Figure 1. High Resolution Photographic Comparison of [RLD Name] (left) and Generic product (right)

| RLD | Generic |
| --- | --- |
| <Please add image> RLD’s carton and its contents | <Please add image> Generic’s carton and its contents |
| <Please add image> RLD’s sealed Vial | <Please add image> Generic’s sealed Vial |
| <Please add image> RLD’s stoppered Vial | <Please add image> Generic’s stoppered Vial |
| <Please add image> RLD’s Filter | <Please add image> Generic’s Filter |
| The primary differences between the RLD and [Company Name]’s drug-device are branding, manufacturer identity and contact information. The generic’s label has some differences in layout and font, but none of these differences are anticipated to affect product use as the information and size of the device labels are consistent. |  |

## 2.1	Physical Comparison

The physical features of the delivery device constituent part for each product were compared via visual and tactile inspection. The results of the physical comparison are presented in Table 1.

Table 1. Physical Comparison of the RLD (Left) and Generic Product (Right) and the associated device constituent components

| Feature |  |  |  |  | RLD, [RLD Name] | Generic | Discussion of Differences/ Potential Effects |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fully assembled device |  |  |  |  |  |  |  |
| Packaging |  |  |  |  | <Please add image> [RLD Name] | <Please add image> [Product Name] | Minor difference was observed RLD uses “Trademark” name, and the proposed generic product’s label uses only the established name. This is permitted by FDA regulation for generic products. No impact on critical task performance. |
| Sealed Vial |  |  |  |  | <Please add image> | <Please add image> | Minor difference in seal on the generic product relative to RLD product. The generic uses a seal integrated, and the RLD uses plastic wrap around the seal. No impact on critical task performance. |
| Fill Volume |  |  |  |  | X.X mL | X.X mL | No Difference |
| Filter Device |  |  |  |  |  |  |  |
| Filter Dimensions |  |  |  |  | <Please add image> | <Please add image> | Minor difference in geometry and dimensions of the components. Physical design and attributes are virtually identical beyond the dimensions. No impact on critical task performance. |
|  |  |  |  |  | XX.XX mm | XX.XX mm |  |
|  |  |  |  |  | XX.XX mm | XX.XX mm |  |
| Vial |  |  |  |  |  |  |  |
| Vial Dimensions |  |  | Total Height |  | XX.XX mm | XX.XX mm | Minor difference in geometry and dimensions of the components. Physical design and attributes are virtually identical beyond the dimensions. No impact on critical task performance. |
|  |  |  |  |  | XX.XX mm | XX.XX mm |  |
|  |  |  | Color |  | <Please add image> | <Please add image> |  |
| Stopper |  |  |  |  |  |  |  |
| Stopper Dimensions |  | Total Height |  |  | XX.XX mm | XX.XX mm | Minor difference in the stopper dimensions. Physical design and attributes are virtually identical beyond the dimensions No impact on critical task performance |
|  |  |  |  |  | XX.XX mm | XX.XX mm |  |
|  |  | Color |  |  | <Please add image> | <Please add image> |  |
| Seal |  |  |  |  |  |  |  |
| Seal Dimensions |  |  |  |  | XX.XX mm | XX.XX mm | Minor difference in the geometry and dimensions of the protective Seal. Physical design and attributes are virtually identical beyond the dimensions. No impact on critical task, performance as both seal provide protection to the content of the vial. |
|  |  |  |  |  | XX.XX mm | XX.XX mm |  |
|  | Color |  |  |  | <Please add image> | <Please add image> |  |

In conclusion, while there are some physical differences between the two devices, in particular the dimensions and geometry of the Vial and Stopper and the seal; the generic drug-device presentation has similar user interface as the RLD. However, these minor differences do not introduce any new tasks in the required workflow for using the generic product relative to RLD. These differences are minor and are unlikely to affect device use and dose administration compared to the RLD.

Thus, from device functionality and usability point of view, the generic device possesses all the critical design attributes provided by the RLD necessary to administer a dose in the same manner as the RLD. Additionally, Labeling Comparison and Comparative Task Analysis aspects of the User Interface study presented below further confirm this assertion.

## 2.2	Labeling Comparison

The prescribing information and other patient-facing labeling, including carton, and on-device labels for each product were compared. A comprehensive prescribing information and other patient-facing labeling are included in this assessment. i.e. comparison between the text, graphics, layout, and use of color were herein considered.

Table 2, 3 and 4 summarize differences in the carton, vial labeling and prescribing information between (RLD), [RLD Name] (on left) and [Product Name] (on right) Only minor differences were found, relating primarily to branding and manufacturer identity and contact information.

Table 2. Comparison of Outer Carton Labeling for RLD (left) and [Company Name]’s Generic Device (right)

| RLD | Generic |
| --- | --- |
| <Please add image> | <Please add image> |
| Minor differences only. The primary differences between the outer cartons are branding, manufacturer identity and contact information. None of these differences are anticipated to affect product use as the information and size of the cartons are consistent with FDA labeling regulations for generic products. |  |

Table 3. Comparison of the Primary Label for RLD (Left) and [Company Name]’s Generic (right)

| RLD | Generic |
| --- | --- |
| <Please add image> | <Please add image> |
| Minor differences only. The primary differences between the RLD Vial label and [Company Name]’s Vial label are branding, manufacturer identity and contact information. [Company Name]’s label has some differences in layout and font, but none of these differences are anticipated to affect product use as the information and size of the device labels are consistent. |  |

Table 4. Comparison of Prescribing Information for RLD and Proposed Generic [Product Name]

| Information/ Element | Differences | Assessment |
| --- | --- | --- |
| Manufacturer Information | RLD, [RLD Name] and the proposed generic [Product Name], have different manufactures names which are provided in the respective PIs. Distributed by: Add RLD details Manufactured by: XX Distributed by: XX Revised: XX/202X | Minor difference only. Manufacturer name and address. This is permitted by FDA regulations |
| Tradename/ Drug Name | The RLD uses tradename “[RLD Name]”, and the generic product uses a generic name [Product Name] | Minor difference only. RLD uses a trademark. This is permitted by FDA regulations |
| Letter Case | - RLD, [RLD Name] and [Company Name]’s generic [Product Name], use similar letter cases for certain words: “[Product Name]” “Rx only” “Rx only” “Sterile” “Sterile” |  |
| Table Formatting | - RLD uses a gridded approach to tables - [Company Name]’s uses a gridded approach to tables | No difference |

## 2.3	Comparative Task Analysis

A comparative tasks analysis using the PCA (perception, cognition, action) method is to be performed on the steps to prepare and administer a dose to determine the critical design attributes and analyze the differences between use of the RLD and the generic devices.

This study is to determine whether any differences in design for the user interface of the proposed generic product as compared to the reference listed drug (RLD) are acceptable and whether the proposed product can be expected to have the same clinical effect and safety profile as the RLD when administered to patients under the conditions specified in the labeling. And, to demonstrate whether the proposed product can be substituted for the RLD without the intervention of a health care provider and/or without additional training prior to use. Please note that RLD, [RLD Name], does not have “Instruction of Use” and the User Interface study was conducted as per FDA current thinking to demonstrate the generic product’s substitutability relative to RLD.

The analyst conducted the comparative task analysis (tasks) using the generated IFU, noting any perceptional, cognitive, and tactile differences between the RLD and generic device with emphasis on end user ease of use in terms of holding the device prior to use, removing the device from the package, and administering the dose as well as any perceptional differences of effort required for performing these tasks. The comparative task analysis results are presented in Table 5.

Table 5. Results of Comparative Task Analysis for RLD and Generic proposed [Product Name]

| RLD, [RLD Name] |  |  |  |  |  | Generic Product [Product Name] |
| --- | --- | --- | --- | --- | --- | --- |
| Task | # | Subtask | Perception | Cognition | Action | Differences compared to RLD |
| Remove from Packaging |  |  |  |  |  |  |
|  | a | Remove device from packaging (carton) <Please add image> | Identify carton Opening | Understand how to open carton | Open carton | No difference <Please add image> |
|  |  | <Please add image> | Identify package insert | Understand how to unfold package insert | Remove and unfold package insert | Minor difference. The generic has folded glued package insert. No impact on critical task performance <Please add image> |
|  |  | <Please add image> | Identify device in the carton | Determine how to grip device to remove from the carton | Grip and remove device from the carton | No difference <Please add image> |
|  | b | Read and understand the patient insert (PI) | Read and understand text | Understand written Instructions. Understand that the medication is for use only, keep out of the reach of children | Read written instructions | No difference <Please add image> |
| Preparation and Administration of Dose |  |  |  |  |  |  |
|  | Step 1 | Read and understand the PI | Read and understand text | Understand written Instructions | Read written instructions | No difference |
|  | Step 2 | Washing of hand | Recognize that the hands have to be washed | Understand that the hand has to be washed with soap and water before using the medication | Wash hands with soap and water | No difference |
|  | Step 3 | Inspection of the seal <Please add image> | Identify the protective seal | Understand to inspect the seal before using the medication for the first time, and make sure the protective Seal on the Vial is unbroken. | Inspect the seal. Find out if the protective Seal on the Vial is unbroken | Minor difference The RLD has seal, but the generic seal has integrated seal, which has to be broken for use. No impact on critical task performance. <Please add image> |
|  | Step 4 | Removal seal <Please add image> | Identify the seal | Understand that the safety seal has to be to break the seal |  | Minor difference No impact on critical task performance. |
|  | Step 5 |  |  |  |  |  |
| Simulation of infusion: Dosage Recommendation |  |  |  |  |  |  |
|  | Step 6 |  |  |  |  | No difference |
|  | Step 7 |  |  |  |  | No difference |
|  | Step 8 |  |  |  |  | No difference |
|  | Step 9 |  |  |  |  | No difference |
|  | Step 10 | Administration of dose <Please add image> |  |  |  | No difference |
|  | Step 11 |  |  |  |  | No difference <Please add image> |
|  | Step 12 |  |  |  |  | No difference |

# Discussion

This User Interface study was conducted to identify and assess differences in the design of the user interface of the RLD, [RLD Name] and [Company Name]’s proposed generic, [Product Name].

As per FDA’s Guidance, “Comparative Analyses and Related Comparative Use Human Factor Studies for a Drug-Device Combination Product Submitted in an ANDA: Guidance for Industry, January 2017”, the User Interface included a physical comparison of the device constituents for the products, a comparison of the patient-facing labeling for the two products and a comparative task analysis, the results for each comparison are summarized in Table 7 below.

Table 6. Summary of User Interface Study

| Type of Analysis | Outcome | Classification of difference | Effect on Critical Task performance |
| --- | --- | --- | --- |
| Physical Comparison | There are some physical differences between the two devices, in terms of appearance, dimensions and geometry of the vial, seal design. These are purely cosmetics | Minor difference in seal on the generic product relative the RLD product. | These minor differences in the seal geometry and dimensions, and do not introduce any new tasks in the required workflow for the use of generic devices relative to RLD |
| Labeling Comparison | Carton: The differences between RLD and the proposed Generic are in branding, manufacturer identity, and layout/position of the information on the carton. | Minor difference | The differences are permitted by FDA regulations for generic products |
|  | Vial: The design of the vial for the generic product is similar to RLD. The differences in labeling between RLD and the proposed Generic are branding, manufacturer identity, and layout of the information on the carton. color contrast of dosing information. | Minor difference |  |
|  | Filter: | Minor difference |  |
| Comparative Task Analysis | As noted in the physical comparison section above, few minor differences were found in the comparative task performance for removing the seal. The analyst was able to follow the instruction of use generated for conducting the critical task analysis and did not identify any differences between the RLD and the generic device, with exception of the seal removal. | Minor difference | These minor differences in the device do not introduce any new tasks in the generated (simulated) workflow for the use of generic devices relative to RLD |

In summary, while some differences were identified in the physical dimensions of the container/ closure and the components that constitute the device, these were minor and are not expected to affect device use.

The differences identified in labeling were related primarily to the branding and manufacturer identification which are acceptable to the Agency.

The differences identified from comparative task analysis have been subjected to risk assessment for potential failure modes as delineated in Table 7. Please note the RLD does not have “Instruction of Use.” An Instruction of Use was generated for this study purpose.

Table 7. Risk Assessment of differences identified between RLD, [RLD Name] and Proposed Generic, [Product Name]

| IFU Step* | Difference | Failure mode | Potential impact | Risk Mitigation/ Justification |
| --- | --- | --- | --- | --- |

*IFU was generated for this study, the RLD does not have IFU.

# Conclusion

The end- users, i.e., patients, HCP or Care givers, who administer [Company Name]’s proposed generic, [Product Name] will be able to use it in the same way as with RLD, [RLD Name] and are at no greater risk of experiencing use-related issues than the RLD.

In conclusion, a user of the RLD, [RLD Name] would not require any additional training to use [Company Name]’s generic [Product Name] to perform the same critical tasks to use the generic device. Therefore, based on the findings of the User Interface study, no additional studies are required to demonstrate similarity between the RLD and the generic drug- device from the point of exterior user interface and usability of [Company Name]’s generic device. Also, the proposed drug-device can be expected to have the same clinical effect and safety profile as the RLD when administered to patients under the conditions specified in the labeling. Furthermore, the study indicates that the generic drug-device can be substituted for the RLD without the intervention of a health care provider and/or without additional training prior to use.

# References

- Comparative Analyses and Related Comparative Use Human Factor Studies for a Drug-Device Combination Product Submitted in an ANDA: Guidance for Industry, January 2017.

- FDA Approved labeling for (RLD) [RLD Name]. Revised: XX/202X